Datasheet

No.: B6IE2434-240-B38-40°

Version: 2025-08-19-01

| ITEM: B6IE2434 | INPUT VOLTAGE(V) 240 | LENS B38 | LENS DEGREE(°)θ1/2 40° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE |  | 24×0.5W |  |
|  |  | LENGTH(MM) |  | 1013 |  |
|  |  | CONSUMPTION(W) |  | 240=17 |  |
|  |  | OPERATING CURRENT(MA) |  | 240=118 |  |
|  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  | LUMINANCE(LM) |  | CW=1114 WW=1020 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 02 |  |
|  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | Extruded aluminum |  |  |  |  |
| BRACKET | Aluminum anodized finishing |  |  |  |  |
| LIGHT WINDOW | Tempered glass.T=3mm |  |  |  |  |
| CABLE GLAND | Copper IP-65 PG-7 |  |  |  |  |
| GASKET | Glass and housing are silicone sealed |  |  |  |  |
| LENS | OPTICS lens, efficiency≥85% |  |  |  |  |
| LED TYPE | SMD |  |  |  |  |
| OPERATING TEMPERATURE | -20˚ C~40˚ C |  |  |  |  |
| POWER CABLE | H03VV-F 2×0.75mm², L=0.2m With plug /socket connector MAX capacity of current=5A |  |  |  |  |
| DIMMING SUPPORT | 1-10V Dali Customized |  |  |  |  |
| CONNECTION |  |  |  |  |  |

PHOTOMETRIC

CERTIFICATES