Datasheet

No.: B2WDR0157PG-120 240-B73-30°

Version: 2025-08-19-01

| ITEM: B2WDR0157PG | INPUT VOLTAGE(V) 120 240 |  | LENS B73 | LENS DEGREE(°)θ1/2 30° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | LIGHT SOURCE |  | 1×2W |  |
|  |  |  | CONSUMPTION(W) |  | 120=2.7 240=2.9 |  |
|  |  |  | OPERATING CURRENT(MA) |  | 120=41 240=23 |  |
|  |  |  | POWER FACTOR(PF) |  | 0.476 |  |
|  |  |  | LUMINANCE(LM) |  | CW=183 WW=143 |  |
|  |  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  |  | IK RATING |  | 08 |  |
|  |  |  | IP RATING |  | 67 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |  |
| FRONT COVER | 316# stainless steel forge molding with hard chromeplated |  |  |  |  |  |
| HOUSING | Die-casting aluminum powder coated T=60-80μm. Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |  |
| LIGHT WINDOW | Tempered step glass.T=8mm |  |  |  |  |  |
| GASKET | Silicon rubber molding shaped seal |  |  |  |  |  |
| POWER CABLE | Outside of luminaire 120V/240V: H05RN-F 3×1.0mm², L=0.5m |  |  |  |  |  |
| CABLE GLAND | IP67 Copper and nicked coated |  |  |  |  |  |
| LED TYPE | SMD |  |  |  |  |  |
| LED DRIVER | Constant Voltage Input, Constant Current Output |  |  |  |  |  |
| LENS | OPTICS Reflector efficiency≥85% |  |  |  |  |  |
| RECESSED SLEEVE MATERIAL | PC/ABS ALLOYS |  |  |  |  |  |
| GLASS PRESSURE CAPACITY | Full area=1,704kgs |  |  |  |  |  |
| DIMMING SUPPORT | Triac PWM Available 1-10V Dali Customized |  |  |  |  |  |
| IP | IP67 |  |  |  |  |  |
| OPERATING TEMPERATURE | -20 ˚ C~40˚ C |  |  |  |  |  |
| ACCESSORIES(Optional) |  |  |  |  |  |  |
| SLEEVE Optional 1 |  | Optional 2 |  |  |  |  |
| HONEYCOMB LOUVER (Optional) |  |  |  |  |  |  |

WATER PROOF SOLUTION

PHOTOMETRIC

CERTIFICATES