Datasheet

No.: 4E2BFS0167-DC 24-B80-40°

Version: 2025-08-25-01

| ITEM: 4E2BFS0167 | INPUT VOLTAGE(V) DC 24 | LENS B80 | LENS DEGREE(°)θ1/2 40° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE |  | 1×8.5W |  |
|  |  | CONSUMPTION(W) |  | 10 |  |
|  |  | OPERATING CURRENT(MA) |  | 416 |  |
|  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  | LUMINANCE(LM) |  | 168 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 10 |  |
|  |  | IP RATING |  | 67 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | 12# Die-casting aluminum powder coated T=60-80μm. Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |
| FRONT COVER | Hard chromeplated stainless steel SUS 316# |  |  |  |  |
| LIGHT WINDOW | UVstop & Fireproof PC |  |  |  |  |
| LED TYPE | SMD |  |  |  |  |
| GASKET | IP68 PG-11 PA66 |  |  |  |  |
| OPERATING TEMPERATURE | Silicon rubber molding shaped seal |  |  |  |  |
| LED DRIVER | Constant Voltage Input,Constant Current Output |  |  |  |  |
| POWER CABLE | Outside of luminaire 12V/24V: H07RN-F 2×1.0mm², L=0.5m |  |  |  |  |
| RECESSED SLEEVE MATERIAL | PC/ABS ALLOYS |  |  |  |  |
| GLASS PRESSURE CAPACITY | >2,000kgs |  |  |  |  |
| DIMMING SUPPORT | Triac PWM Available 1-10V Dali Customized |  |  |  |  |
| IP | IP67 |  |  |  |  |
| OPERATING TEMPERATURE | -20˚ C~40˚ C |  |  |  |  |
| WATER PROOF SOLUTION |  |  |  |  |  |

ACCESSORIES(Optional)

SLEEVE

PHOTOMETRIC

CERTIFICATES