Datasheet

No.: RB2CNS0126-DC 24-R8-24°

Version: 2025-08-27-01

| ITEM: RB2CNS0126 | INPUT VOLTAGE(V) DC 24 | REFLECTOR R8 | LENS DEGREE(°)θ1/2 24° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE |  | 1×6W |  |
|  |  | CONSUMPTION(W) |  | 7.7 |  |
|  |  | OPERATING CURRENT(MA) |  | 320 |  |
|  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  | LUMINANCE(LM) |  | CW=909 WW=744 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 06 |  |
|  |  | IP RATING |  | 67 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | 12# Die-casting aluminum powder coated T=60-80μm. Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |
| LIGHT WINDOW | Tempered step glass.T=4mm |  |  |  |  |
| LED TYPE | COB |  |  |  |  |
| GLASS PRESSURE CAPACITY | Full area=2,463kgs |  |  |  |  |
| REFLECTOR | OPTICS Reflector efficiency≥90% |  |  |  |  |
| GASKET | Molding shaped silicone seal |  |  |  |  |
| LED DRIVER | Constant Voltage Input,Constant Current Output |  |  |  |  |
| OPEARTING TEMPERATURE | -20°C ~40°C |  |  |  |  |
| POWER CABLE | Outside of luminaire 12V/24V: H05RN-F 2×1.0mm², L=0.5m |  |  |  |  |
| RECESSED SLEEVE | PC/ABS ALLOYS |  |  |  |  |
| DIMMING SUPPORT | Triac PWM Available 1-10V Dali Customized |  |  |  |  |
| IP | IP67 |  |  |  |  |
| WATER PROOF SOLUTION |  |  |  |  |  |

| ACCESSORIES(Optional) |  |
| --- | --- |
| SLEEVE Optional1 | Optional 2 |

PHOTOMETRIC

CERTIFICATES