Datasheet

No.: D6IE4217-DC 24-120°

Version: 2025-08-28-01

| ITEM: D6IE4217 | INPUT VOLTAGE(V) DC 24 | LENS N/A | LENS DEGREE(°)θ1/2 120° | CCT 3000K |
| --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE | 42×0.2W |  |
|  |  | LENGTH(MM) | 513 |  |
|  |  | CONSUMPTION(W) | 8.5 |  |
|  |  | OPERATING CURRENT(MA) | 350 |  |
|  |  | POWER FACTOR(PF) | 1 |  |
|  |  | LUMINANCE(LM) | CW=430 WW=418 |  |
|  |  | COLOR RENDERING INDEX | RA: 80 |  |
|  |  | IK RATING | 08 |  |
|  |  | IP RATING | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |
| HOUSING | Aluminum anodized finishing &powder painting |  |  |  |
| LIGHT WINDOW | Tempered frosted glass.T=3mm |  |  |  |
| CABLE GLAND | Copper and nickel coated |  |  |  |
| GASKET | Glass and housing are silicone sealed |  |  |  |
| PCB | Heat conductivity≥2.0w/mk |  |  |  |
| LED TYPE | SMD |  |  |  |
| OPERATING TEMPERATURE | -20˚ C~40˚ C |  |  |  |
| POWER CABLE | H03VV-F 2×0.75mm², L=0.25m |  |  |  |
| DIMMING SUPPORT | 1-10V Dali Customized |  |  |  |
| CONNECTION |  |  |  |  |

PHOTOMETRIC

CERTIFICATES