Datasheet

No.: D9AFL2434-DC 24

Version: 2025-09-01-01

| ITEM: D9AFL2434 | INPUT VOLTAGE(V) DC 24 | LENS N/A | LENS DEGREE(°)θ1/2 N/A |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | HEIGHT(mm) |  | 300 |  |
|  |  | LIGHT SOURCE |  | 24×0.25W |  |
|  |  | CONSUMPTION(W) |  | 6 |  |
|  |  | OPERATING CURRENT(MA) |  | 250 |  |
|  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  | LUMINANCE(LM) |  | 214 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 07 |  |
|  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | T=60-80μm Adhesion of ISO class 1/ASTM class 4B 12# Die-casting powder coated aluminum. |  |  |  |  |
| LIGHT WINDOW | PMMA |  |  |  |  |
| LED TYPE | SMD |  |  |  |  |
| LED DRIVER | Constant Voltage Input, Constant Current Output |  |  |  |  |
| POWER CABLE | Outside of luminaire 12V/24V: H05RN-F 2×1.0mm², L=0.5m |  |  |  |  |
| BASE | Flange base |  |  |  |  |
| DIMMABLE SUPPORT | Triac PWM Available 1-10V Dali Customized |  |  |  |  |
| OPERATING TEMPERATURE | -20°C~40°C |  |  |  |  |

| BASE OPTIONS |  |  |
| --- | --- | --- |
| Screw Base |  |  |
| Inground Base (Optional) |  |  |
| Ground Anchor Base And Installationb steps (Optional) |  |  |

PAINTING COLOR

PHOTOMETRIC

CERTIFICATES