Datasheet

No.: B3BI0170-DC 24-B57-25°

Version: 2025-09-02-01

| ITEM: B3BI0170 | INPUT VOLTAGE(V) DC 24 | LENS B57 | LENS DEGREE(°)θ1/2 25° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE |  | 1×18W |  |
|  |  | CONSUMPTION(W) |  | 22.56 |  |
|  |  | OPERATING CURRENT(MA) |  | 940 |  |
|  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  | LUMINANCE(LM) |  | 1800 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 07 |  |
|  |  | IP RATING |  | 66 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | 12# Die-casting aluminum finishing or powder painting T=60-80μm. Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |
| LENS | All-in-one OPTICS lens, efficiency≥85% |  |  |  |  |
| LIGHT WINDOW | Tempered glass.T=4mm |  |  |  |  |
| LED TYPE | COB |  |  |  |  |
| CABLE GLAND | IP68 PG-9 PA66 |  |  |  |  |
| GASKET | Tooling shaped seal |  |  |  |  |
| BRACKET | Powder coated aluminum |  |  |  |  |
| POWER CABLE | Outside of luminaire 12V/24V: H05RN-F 2×1.0mm², L=2.0m |  |  |  |  |
| WATER PROOF SOLUTION |  |  |  |  |  |

| ACCESSORIES(Optional) |  |  |
| --- | --- | --- |
| SPIKE PC/ABS alloys | STAINLESS STEEL | ROUND SURFACE MOUNTING BASE |

| PAINTING COLOR |  |
| --- | --- |
| Regular | Secondary |

PHOTOMETRIC

CERTIFICATES