Datasheet

No.: 2ED7DBE1656 (TWO SIDE)-DC 24-95°×65°

Version: 2025-09-02-01

| ITEM: 2ED7DBE1656 (TWO SIDE) | INPUT VOLTAGE(V) DC 24 | LENS N/A | LENS DEGREE(°)θ1/2 95°×65° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE |  | 16×1W |  |
|  |  | CONSUMPTION(W) |  | 20 |  |
|  |  | OPERATING CURRENT(MA) |  | 833 |  |
|  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  | LUMINANCE(LM) |  | 500×2 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 01 |  |
|  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | 12# Die-casting aluminum finishing or powder painting T=60-80µm. Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |
| LIGHT WINDOW | Temperetd forsted glass T=3mm |  |  |  |  |
| LED TYPE | SMD |  |  |  |  |
| GASKET | Tooling shaped seal |  |  |  |  |
| DRIVER | Built-in driver |  |  |  |  |
| OPERATING TEMPERATURE | -20°C-40°C |  |  |  |  |
| POWER CABLE | Outside of luminaire 12V/24V: H05RN-F 2×1.0mm², L=0.3m |  |  |  |  |
| DIMMING SUPPORT | Triac PWM Available 1-10V Dali Customized |  |  |  |  |
| DIAGRAM OF INSTRUCTION |  |  |  |  |  |

| PAINTING COLOR |  |
| --- | --- |
| Regular | Secondary |

PHOTOMETRIC

CERTIFICATES