Datasheet

No.: R7VF0225 A-DC 24-R7-24°

Version: 2025-09-03-01

| ITEM: R7VF0225 A | INPUT VOLTAGE(V) DC 24 | REFLECTOR R7 | LENS DEGREE(°)θ1/2 24° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE |  | 2×6W |  |
|  |  | CONSUMPTION(W) |  | 16.8 |  |
|  |  | OPERATING CURRENT(MA) |  | 700 |  |
|  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  | LUMINANCE(LM) |  | 480×2 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 04 |  |
|  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | 12# Die-casting aluminum finishing or powder painting T=60-80μm. Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |
| LIGHT WINDOW | PC |  |  |  |  |
| GASKET | Tooling shaped seal |  |  |  |  |
| LED DRIVER | Constant voltage input, constant current output |  |  |  |  |
| LED TYPE | COB |  |  |  |  |
| OPERATING TEMPERATURE | -20˚ C-40˚ C |  |  |  |  |
| POWER CABLE | Outside of luminaire 12V/24V: H05RN-F 2×1.0mm², L=0.3m |  |  |  |  |
| DIAGRAM OF INSTRUCTION |  |  |  |  |  |

| PAINTING COLOR |  |
| --- | --- |
| Regular | Secondary |

PHOTOMETRIC

CERTIFICATES