Datasheet

No.: 1ED7LBE0656 (ONE SIDE)-240V-86°×72°

Version: 2025-09-03-01

| ITEM: 1ED7LBE0656 (ONE SIDE) | INPUT VOLTAGE(V) 240 | LENS N/A | LENS DEGREE(°)θ1/2 86°×72° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE |  | 6×1W |  |
|  |  | CONSUMPTION(W) |  | 8 |  |
|  |  | OPERATING CURRENT(MA) |  | 40 |  |
|  |  | POWER FACTOR(PF) |  | 0.923 |  |
|  |  | LUMINANCE(LM) |  | 432 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 03 |  |
|  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | 12# Die-casting aluminum finishing or powder painting T=60-80µm. Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |
| LIGHT WINDOW | Temperetd forsted glass T=3mm |  |  |  |  |
| LED TYPE | SMD |  |  |  |  |
| GASKET | Tooling shaped seal |  |  |  |  |
| DRIVER | Built-in driver |  |  |  |  |
| OPERATING TEMPERATURE | -20°C-40°C |  |  |  |  |
| POWER CABLE | Outside of luminaire 120V/240V: H05RN-F 3×1.0mm², L=0.3m |  |  |  |  |
| DIMMING SUPPORT | Triac PWM Available 1-10V Dali Customized |  |  |  |  |
| DIAGRAM OF INSTRUCTION |  |  |  |  |  |

| PAINTING COLOR |  |
| --- | --- |
| Regular | Secondary |

PHOTOMETRIC

CERTIFICATES