Datasheet

No.: B7DH0224-240-B54-24°

Version: 2025-09-03-01

| ITEM: B7DH0224 | INPUT VOLTAGE(V) 240 | LENS B54 | LENS DEGREE(°)θ1/2 24° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE |  | 2×4.5W |  |
|  |  | CONSUMPTION(W) |  | 10.7 |  |
|  |  | OPERATING CURRENT(MA) |  | 49 |  |
|  |  | POWER FACTOR(PF) |  | 0.916 |  |
|  |  | LUMINANCE(LM) |  | 282×2 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 05 |  |
|  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING MATERIAL | Extruded aluminum alloy #6063 |  |  |  |  |
| PAINTING | Powder coating ,T= 60-80 μm. Adhesion of ISOclass 1/ASTM class 4B |  |  |  |  |
| REFLECTOR | OPTICS reflector. efficiency≥85% |  |  |  |  |
| LED TYPE | COB |  |  |  |  |
| OPERATING TEMPERATURE | -20°C- 40°C |  |  |  |  |
| POWER CABLE | Outside of luminaire 120V/240V: H05RN-F 3×1.0mm², L=0.3m |  |  |  |  |
| DIAGRAM OF INSTRUCTION |  |  |  |  |  |

| PAINTING COLOR |  |
| --- | --- |
| Regular | Secondary |

PHOTOMETRIC

CERTIFICATES