Datasheet

No.: B7TMD0158-120 240-B33-20°

Version: 2025-09-03-01

| ITEM: B7TMD0158 | INPUT VOLTAGE(V) 120 240 | LENS B33 | LENS DEGREE(°)θ1/2 20° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE |  | 1×3W |  |
|  |  | CONSUMPTION(W) |  | 120=5.3 240=5.4 |  |
|  |  | OPERATING CURRENT(MA) |  | 120=45 240=26 |  |
|  |  | POWER FACTOR(PF) |  | 0.801 |  |
|  |  | LUMINANCE(LM) |  | CW=305 WW=274 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 06 |  |
|  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | 12# Die-casting aluminum finishing or powder painting T=60-80μm. Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |
| LIGHT WINDOW | Tempered glass.T=4mm |  |  |  |  |
| LED TYPE | COB |  |  |  |  |
| GASKET | Tooling shaped seal |  |  |  |  |
| LENS/REFLECTOR | OPTICS lens,effciency≥85% |  |  |  |  |
| LED DRIVER | Constant Voltage Input,Constant Current Output |  |  |  |  |
| OPERATING TEMPERATURE | -20℃ -40℃ |  |  |  |  |
| POWER CABLE | Outside of luminaire 120V/240V: H05RN-F 3×1.0mm², L=0.3m |  |  |  |  |
| DIMMING SUPPORT | Triac PWM Available 1-10V Dali Customized |  |  |  |  |
| ACCESSORIES(Optional) |  |  |  |  |  |
| HONEYCOMB LOUVER |  | BEVEL CUT HOOD |  |  |  |
| TREE POLE STRAP |  |  |  |  |  |

| PAINTING COLOR |  |
| --- | --- |
| Regular | Secondary |

DIAGRAM OF INSTRUCTION

PHOTOMETRIC

CERTIFICATES