Datasheet

No.: R7BC0129-120 240-R3-25°

Version: 2025-09-03-01

| ITEM: R7BC0129 | INPUT VOLTAGE(V) 120 240 | REFLECTOR R3 | LENS DEGREE(°)θ1/2 25° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE |  | 1×12W |  |
|  |  | CONSUMPTION(W) |  | 120=14 240=14.1 |  |
|  |  | OPERATING CURRENT(MA) |  | 120=112 240=64 |  |
|  |  | POWER FACTOR(PF) |  | 0.932 |  |
|  |  | LUMINANCE(LM) |  | CW=1508 WW=1432 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 05 |  |
|  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | 12# Die-casting aluminum finishing or powder painting T=60-80μm. Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |
| LIGHT WINDOW | Tempered glass. T=3.5mm |  |  |  |  |
| LED DRIVER | Constant voltage input, constant current output |  |  |  |  |
| LED TYPE | COB |  |  |  |  |
| OPERATING TEMPERATURE | -20˚ C-40˚ C |  |  |  |  |
| POWER CABLE | Outside of luminaire 120V/240V: H05RN-F 3×1.0mm², L=0.3m |  |  |  |  |
| DIAGRAM OF INSTRUCTION |  |  |  |  |  |

| PAINTING COLOR |  |
| --- | --- |
| Regular | Secondary |

PHOTOMETRIC

CERTIFICATES