Datasheet

No.: B8VH0126-240-B71-60°

Version: 2025-09-03-01

| ITEM: B8VH0126 | INPUT VOLTAGE(V) 240 | LENS B71 | LENS DEGREE(°)θ1/2 60° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE |  | 1×6W |  |
|  |  | CONSUMPTION(W) |  | 8 |  |
|  |  | OPERATING CURRENT(MA) |  | 36 |  |
|  |  | POWER FACTOR(PF) |  | 0.747 |  |
|  |  | LUMINANCE(LM) |  | 699 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 08 |  |
|  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING MATERIAL | Extruded aluminum alloy #6063 |  |  |  |  |
| PAINTING | Powder coating, T= 60~80 μm. Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |
| REFLECTOR | OPTICS reflector. efficiency≥85% |  |  |  |  |
| LED TYPE | COB |  |  |  |  |
| POWER CABLE | Outside of luminaire H05RN-F 3×1.0mm², L=0.3m(120V/240V) |  |  |  |  |
| OPERATING TEMPERATURE | -20˚ C~40˚ C |  |  |  |  |
| ACCESSORIES(Optional) |  |  |  |  |  |

FEATURES

| PAINTING COLOR |  |
| --- | --- |
| Regular | Secondary |

PHOTOMETRIC

CERTIFICATES