Datasheet

No.: B7GR1256 (TWO SIDE)-240-B116-40°

Version: 2025-10-14-03

| ITEM: B7GR1256 (TWO SIDE) | INPUT VOLTAGE(V) 240 | LENS B116 | LENS DEGREE(°)θ1/2 40° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- |
|  |  | LIGHT SOURCE |  | 12×1W |  |
|  |  | CONSUMPTION(W) |  | 13.6 |  |
|  |  | OPERATING CURRENT(MA) |  | 60 |  |
|  |  | POWER FACTOR(PF) |  | 0.889 |  |
|  |  | LUMINANCE(LM) |  | 600×2 |  |
|  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  | IK RATING |  | 07 |  |
|  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |
| HOUSING | 12# Die-casting aluminum finishing or powder painting T=60-80µm. Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |
| LIGHT WINDOW | Temperetd glass T=3mm |  |  |  |  |
| LED TYPE | SMD |  |  |  |  |
| GASKET | Tooling shaped seal |  |  |  |  |
| DRIVER | Built-in driver |  |  |  |  |
| OPERATING TEMPERATURE | -20°C-40°C |  |  |  |  |
| POWER CABLE | Outside of luminaire 120V/240V: H05RN-F 3×1.0mm², L=0.3m |  |  |  |  |
| DIMMING SUPPORT | Triac PWM Available 1-10V Dali Customized |  |  |  |  |
| DIAGRAM OF INSTRUCTION |  |  |  |  |  |

| PAINTING COLOR |  |
| --- | --- |
| Primary | Secondary |

PHOTOMETRIC

CERTIFICATES