Datasheet

No.: C1KA1257-240-C22-98°×37°

Version: 2025-11-17-03

| ITEM: C1KA1257 | INPUT VOLTAGE(V) 240 |  | LENS C22 | LENS DEGREE(°)θ1/2 98°×37° |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | LIGHT SOURCE |  | 12×1.35W |  |
|  |  |  | CONSUMPTION(W) |  | 18.8 |  |
|  |  |  | OPERATING CURRENT(MA) |  | 82 |  |
|  |  |  | POWER FACTOR(PF) |  | 0.943 |  |
|  |  |  | LUMINANCE(LM) |  | WW=935 |  |
|  |  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  |  | IK RATING |  | 10 |  |
|  |  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |  |
| FRONT COVER | 12# Die-casting aluminum powder coated. T=60- 80μm. Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |  |
| HOUSING | 12# Die-casting RAL9005 powder coated aluminum. T=60-80μm. Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |  |
| LIGHT WINDOW | Tempered glass |  |  |  |  |  |
| CABLE GLAND | IP67 copper and nicked coated |  |  |  |  |  |
| GASKET | Waterproof silicone gasket |  |  |  |  |  |
| LED TYPE | SMD |  |  |  |  |  |
| DRIVER | Built in on/off driver |  |  |  |  |  |
| RECESSED SLEEVE | PC/ABS ALLOYS 212# |  |  |  |  |  |
| LED DRIVER | Constant Voltage Input,Constant Current Output |  |  |  |  |  |
| OPERATING TEMPERATURE | -20˚ C~40˚ C |  |  |  |  |  |
| POWER CABLE | Outside of luminaire (Without waterstopper) H05RN-F 2×1.0mm², L=0.5m(12V/24V) |  |  |  |  |  |
| DIMMING SUPPORT | External DALI supported TRIAC ,0-10V,PWM via external driver on request |  |  |  |  |  |
| RECESSED SLEEVE(Included) |  | DIAGRAM OF INSTRUCTION |  |  |  |  |

| PAINTING COLOR |  |
| --- | --- |
| Primary | Secondary |

PHOTOMETRIC

CERTIFICATES