Datasheet

No.: D1GB0334-DC 24

Version: 2025-11-17-03

| ITEM: D1GB0334 | INPUT VOLTAGE(V) DC 24 |  | LENS N/A | LENS DEGREE(°)θ1/2 N/A |  | CCT 3000K |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | LIGHT SOURCE |  | 3×0.7W |  |
|  |  |  | CONSUMPTION(W) |  | 2.6 |  |
|  |  |  | OPERATING CURRENT(MA) |  | 110 |  |
|  |  |  | POWER FACTOR(PF) |  | 1 |  |
|  |  |  | LUMINANCE(LM) |  | CW=25 WW=22 |  |
|  |  |  | COLOR RENDERING INDEX |  | RA: 80 |  |
|  |  |  | IK RATING |  | 10 |  |
|  |  |  | IP RATING |  | 65 |  |
| PRODUCT SPECIFICATIONS |  |  |  |  |  |  |
| FRONT COVER | 12# Die-casting aluminum powder coated. T=60-80μm. Adhesion of ISO class 1/ASTM class 4B |  |  |  |  |  |
| HOUSING | 12# Die-casting aluminum powder coated. T=60-80μm. Adhesion of ISO class1/ ASTM class 4B |  |  |  |  |  |
| LIGHT WINDOW | UVstop & Fireproof PC |  |  |  |  |  |
| CABLE GLAND | IP67 Copper and nicked coated |  |  |  |  |  |
| GASKET | Molding shaped silicone seal |  |  |  |  |  |
| RECESSED SLEEVE | Stainless steel 178# |  |  |  |  |  |
| LED DRIVER | Constant Voltage Input,Constant Current Output |  |  |  |  |  |
| OPERATING TEMPERATURE | -20˚ C~40˚ C |  |  |  |  |  |
| POWER CABLE | Outside of luminaire H05RN-F 2×1.0mm², L=0.5m(12V/24V) |  |  |  |  |  |
| LED TYPE | SMD |  |  |  |  |  |
| DIMMING SUPPORT | Triac PWM Available 1-10V Dali Customized |  |  |  |  |  |
| RECESSED SLEEVE(Included) |  | DIAGRAM OF INSTRUCTION |  |  |  |  |

| PAINTING COLOR |  |
| --- | --- |
| Primary | Secondary |

PHOTOMETRIC

CERTIFICATES